HOME STEWARDSHIP PLAN 15 Annie Street, Hamilton, QLD 4007 Prepared for Craig Greenwood Assessed 11 June 2026

Introduction

Your Home Stewardship Plan

Thank you for entrusting the care of your home to Bespoke. This Home Stewardship Plan sets out what we found during your assessment, what we recommend, and how we will see it through on your behalf.

Your home presents as well cared for and structurally sound. Of the 126 elements we assessed, the great majority are in good order. We have identified a focused set of works — 19 in total — together with 15 items we will simply keep under watch.

Every recommendation that follows is yours to approve at your discretion. Where works proceed, we coordinate each trade, oversee the quality to our standard, and report back to you on completion.

Aaron Holloway

Your Concierge, Bespoke Property Concierge

Property at a glance

Your home, in summary

| 126 elements assessed | 81 in satisfactory condition | 19 works recommended | 15 items to monitor |
| --- | --- | --- | --- |

Of the 126 elements we assessed, 81 are in satisfactory condition and require no action. Your home presents as well cared for and structurally sound.

Recommended works

Essential Repairs

Immediate safety and repair items we recommend addressing first.

Roof drainage  ·  Priority  ·  By quotation

Clear and treat the surface corrosion in the box gutter and restore free drainage.

Why it matters  Free-flowing roof drainage protects the roof structure and prevents water entry during heavy rain.

Deck balustrade  ·  Priority  ·  By quotation

Re-fix the movement at the upper-deck balustrade posts to restore full rigidity.

Why it matters  A firm balustrade is an essential safeguard against falls.

Pool barrier compliance  ·  Priority  ·  By quotation

Adjust the self-closing pool gate and renew the faded safety signage so the barrier meets compliance.

Why it matters  A compliant pool barrier is a legal requirement and a vital safeguard for young children.

Subfloor timber  ·  Priority  ·  By quotation

Address the elevated moisture at the subfloor bearer and treat the affected timber.

Why it matters  Managing subfloor moisture protects the structural timbers that support your home.

Electrical safety  ·  Priority  ·  By quotation

Install RCD protection to the unprotected circuits and complete safety-switch testing across the board.

Why it matters  Modern safety switches protect your household from electric shock.

Smoke-alarm compliance  ·  Priority  ·  By quotation

Upgrade to interconnected photoelectric smoke alarms and confirm correct placement and coverage throughout the home.

Why it matters  Interconnected alarms give your household the earliest possible warning in the event of a fire.

Recommended works

Programmed Maintenance Schedule

Ongoing, preventive care to keep your home performing at its best.

Site drainage  ·  Programmed  ·  By quotation

Regrade or install a channel drain to clear the low point that forms near the rear patio after rain.

Why it matters  Directing surface water away from the home protects the foundations and outdoor areas.

Roof covering  ·  Programmed  ·  By quotation

Re-secure the displaced ridge fasteners and renew the localised sealant.

Why it matters  A well-sealed roof is your home's first defence against the weather.

Gutters & downpipes  ·  Programmed  ·  By quotation

Clear debris from the gutter runs and re-secure the loose brackets.

Why it matters  Clear gutters carry water safely away and prevent overflow damage.

External render  ·  Programmed  ·  By quotation

Investigate the source of the hairline cracking, then patch and repaint the affected wall.

Why it matters  Sound render keeps moisture out and preserves the appearance of the facade.

Window seals  ·  Programmed  ·  By quotation

Replace the perished window seal and make good the affected reveal.

Why it matters  Intact seals keep the weather out and help your home stay comfortable and efficient.

Sliding door  ·  Programmed  ·  By quotation

Service the sliding-door track and rollers to restore smooth, effortless operation.

Why it matters  Well-maintained doors are easier to use and last considerably longer.

Deck coating  ·  Programmed  ·  By quotation

Clean and re-oil the weathered decking this season.

Why it matters  Regular oiling protects the timber and keeps the deck looking its best.

Path levelling  ·  Programmed  ·  By quotation

Grind back or replace the lifted path slab to remove the trip hazard at the side entry.

Why it matters  Even, level paths keep everyday movement around the home safe.

Subfloor ventilation  ·  Programmed  ·  By quotation

Clear the blocked subfloor vents to restore healthy cross-flow ventilation.

Why it matters  Good subfloor airflow keeps the timbers dry and the home healthy.

Shower waterproofing  ·  Programmed  ·  By quotation

Re-grout and reseal the shower to protect the waterproofing behind the tiles.

Why it matters  Sound waterproofing prevents hidden moisture damage in wet areas.

Bathroom ventilation  ·  Programmed  ·  By quotation

Service or replace the exhaust fan so it manages moisture effectively.

Why it matters  Good ventilation keeps wet areas dry and discourages mould.

Hot-water relief valve  ·  Programmed  ·  By quotation

Have a licensed plumber verify the temperature-relief valve and tundish arrangement.

Why it matters  A correctly functioning relief valve is an important safety feature of the hot-water system.

Air-conditioning filters  ·  Programmed  ·  By quotation

Clean or replace the air-conditioning filters.

Why it matters  Clean filters improve air quality and keep the system running efficiently.

Recommended works

Enhancement Plan

Considered improvements to elevate comfort, value and enjoyment.

No items at this time.

Under watch

Items to Monitor

These items need no action today. We note them so nothing escapes attention, and we will review each at your next assessment.

Boundary trees  ·  Monitor

A large tree overhangs the roofline; an arborist review is recommended within the coming months.

Why it matters  No action is needed today; we will review this at your next assessment.

Roof flashings  ·  Monitor

The flue flashing is sound but ageing; we will review it at the next assessment.

Why it matters  No action is needed today; we will review this at your next assessment.

External paint  ·  Monitor

The west elevation is beginning to chalk; a full repaint is likely within twelve to eighteen months.

Why it matters  No action is needed today; we will review this at your next assessment.

Door hardware  ·  Monitor

Early coastal corrosion is appearing on external hardware; we are keeping it under watch.

Why it matters  No action is needed today; we will review this at your next assessment.

Decking boards  ·  Monitor

Two boards are cupping near the drip line and will be re-fixed as required.

Why it matters  No action is needed today; we will review this at your next assessment.

Driveway cracking  ·  Monitor

Cosmetic map-cracking to the driveway; no action is needed at this stage.

Why it matters  No action is needed today; we will review this at your next assessment.

Retaining wall  ·  Monitor

A slight lean to the rear retaining wall, with weep holes clear; we will monitor for any progression.

Why it matters  No action is needed today; we will review this at your next assessment.

Pool waterline tiling  ·  Monitor

Minor tile lifting at the waterline, which we will keep under observation.

Why it matters  No action is needed today; we will review this at your next assessment.

Floor level  ·  Monitor

A slight deflection to the rear bedroom floor, noted for review.

Why it matters  No action is needed today; we will review this at your next assessment.

Ceiling finish  ·  Monitor

A faint historic stain to the laundry ceiling, currently dry and stable.

Why it matters  No action is needed today; we will review this at your next assessment.

Timber flooring  ·  Monitor

Minor seasonal gapping to the entry boards, which typically closes with humidity.

Why it matters  No action is needed today; we will review this at your next assessment.

Kitchen appliance seal  ·  Monitor

Minor staining under the dishwasher, currently dry; we will monitor the seal.

Why it matters  No action is needed today; we will review this at your next assessment.

Wet-area ventilation  ·  Monitor

Early spotting to a bathroom ceiling; improving ventilation will keep it in check.

Why it matters  No action is needed today; we will review this at your next assessment.

Hot-water system  ·  Monitor

The hot-water system is operating well at around nine years; we recommend planning for replacement within its service cycle.

Why it matters  No action is needed today; we will review this at your next assessment.

External lighting  ·  Monitor

Two external fittings show water marking and will be reviewed or replaced as needed.

Why it matters  No action is needed today; we will review this at your next assessment.

YOUR CONCIERGE Your home is in careful hands. Bespoke Property Concierge · concierge@bespokepropertyconcierge.com.au Meticulous care for homes that deserve perfection.